## Slide 1: SpotDetect project
Analysis of CGMS data from olive brine samples
25-01-2024, Mercedes Bertotto

## Slide 2: Initial problem description
We need to know when the unnormal fermentation started
5 samples were measured at 3 different temperatures (15°C, 25°C and 30°C) for 33 days (from 11/17/2023 until 12/19/2023)
At 15°C, no unnormal fermentation was observed in any sample. Only At 25°C and 30°C
Data dimensionality: 168 observations and 1197 variables
Ground truth data is available for each sample

## Slide 3: Data analysis description
Due to the scarcity of samples per day, the data set was split into five time frames:
• Period One: 15/11, 17/11, 20/11 and 22/11 (46 samples)
• Period Two: 27/11, 29/11. (28 samples)
• Period Three: 01/12, 04/12 (28 samples)
• Period Four: 6/12, 08/12, 11/12 (32 samples)
• Period Five: 13/12, 15/12, 19/12 (29 samples).
Partial Least Square Discriminant Analysis (PLSDA) with Leave One Out Cross Validation (LOO) was performed in periods two to five, taking into account ground truth data
The aim of this analysis was to classify unfermented from unnormally fermented samples in each period
Period one was not considered because no sample showed unnormal fermentation
Data was scaled in two different ways with similar results
Each intensity was divided by the total sum of intensities: Normalization one
The media from each row was subtracted from each value, and then divided by the standard deviation: Normalization two

## Slide 4: Classification results
Period | Class | Unfermented | Fermented | Not assigned | Latent variables | Specificity | Sensitivity | Precision | Accuracy
Two | Unfermented | 24 | 0 | 0 | 7 | 1 | 1 | 1 | 1
 | Fermented | 0 | 4 | 0 |  | 1 | 1 | 1 | 
Three | Unfermented | 14 | 1 | 0 | 7 | 0.93 | 0.92 | 0.93 | 0.93
 | Fermented | 1 | 12 | 0 |  | 0.92 | 0.93 | 0.92 | 
Four | Unfermented | 9 | 1 | 0 | 9 | 0.90 | 1 | 1 | 0.97
 | Fermented | 0 | 21 | 1 |  | 1 | 0.90 | 0.95 | 
Five | Unfermented | 9 | 1 | 0 | 5 | 0.90 | 0.95 | 0.90 | 0.93
 | Fermented | 1 | 18 | 0 |  | 0.95 | 0.90 | 0.95 | 

## Slide 5
Class 1: No fermentation
Class 2: Unnormal fermentation

## Slide 9: PLS-DA coefficients

## Slide 10: PCA Loadings
58, 78, 79, 94, 98, 118

## Slide 11: Important masses for classification
6, 37, 46, 58, 67, 69, 78, 79, 83, 94, 97, 98, 100, 118, 119, 122